Justification:

Purpose of submission is to add Generator SPNs 305-312.

Changes in RED

6.18 Generator

6.18.28 Service Points

These are the allowable Service Points for this Device (see Table 6.18.28a).

Table 6.18.28a - Service Points

| SPN | Description |
| --- | --- |
| 0 to 255 | Standard SPNs (see Table Error: Reference source not found) |
| 256 | Engine Run Time |
| 257 | Engine Load |
| 258 | Start Battery Voltage |
| 259 | Temperature Shutdown Switch |
| 260 | Oil Pressure Shutdown Switch |
| 261 | Oil Level Switch |
| 262 | Caution Light |
| 263 | Eng Coolant Temperature |
| 264 | Eng Oil Pressure |
| 265 | Engine RPM |
| 266 | Fuel Rate |
| 267 | Generator Type |
| 268 | Generator Pre-crank Time |
| 269 | Generator Max Crank Time |
| 270 | Generator Stop Time |
| 271 | Fuel Pump |
| 272 | Preheat |
| 273 | Starter |
| 274 | Generic temperature |
| 275 | Generic fault |
| 276 | Governor actuator |
| 277 | Starter solenoid |
| 278 | Governor actuator duty cycle |
| 279 | Cutoff switch |
| 280 | PMA (generator) sense |
| 281 | DC sense |
| 282 | Cranking speed |
| 283 | Inverter temperature |
| 284 | Engine stop |
| 285 | Ambient temperature |
| 286 | Pre-heat relay |
| 287 | Fuel pump relay |
| 288 | Start relay |
| 289 | Engine Coolant Level |
| 290 | Alternator |
| 291 | Engine Start |
| 292 | Fuel Level |
| 293 | Air Pressure |
| 294 | Hydraulic Pressure |
| 295 | DEF Tank Level |
| 296 | AC Breaker |
| 297 | Diesel Particulate Filter |
| 298 | DPF Soot Level |
| 299 | J1939 Support |
| 300 | Battery Charger |
| 301 | Fuel Tank Rupture Basin |
| 302 | Fuel Temperature |
| 303 | Exhaust Temperature |
| 304 | Remote Start |
| 305 | Generator Rotor |
| 306 | Speed Sense |
| 307 | Ignition Controller |
| 308 | Generator Field Sense |
| 309 | Fuel Injector |
| 310 | MAT Sender |
| 311 | MAP Sender |
| 312 | Generator Prime Time |

New additions in red