# Proposed correction for section 6.5.12

The following was found to be in error and requiring correction.

Correction, in section 6.5.12:

Capacity Remaining = Relative Capacity * Full Capacity

Should be:

Capacity Remaining = State of Charge * Full Capacity

Otherwise, it does not match the Example Battery Bank Size chart.